### Request for Quotation

#### for

#### “LAYING OF AIRLINE FOR AEROSPACE PROJECT"

#### E-BID No:  BR01/RM5/1900031382

#### Closing Date: 12.03.2020  at 14:00 Hrs

#### To

## BEML Limited

Event Service Provider:

Vendor’s Time and Expenses: To be borne by the vendor

No representation would be entertained on any errors if found in the RFQ. However vendors to bring such errors / omissions to the notice of BEML for necessary corrective action

Confidential Document: for limited circulation among the participants of e-tender event, for Annual requirement finalization for BEML to be conducted on “BEML SRM” Platform

| Laying of airline for Aerospace project Division: BEML, Bangalore Complex |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Requirement Specification |  |  |  |  |  |
| Sl. No. |  | Item Name | UOM | Quantity |
| - 1 |  | Laying of airline for Aerospace project | AU | 1 |
|  | LAYING OF COMPRESSED AIR LINES FOR AERO SPACE PROJECT AT BEML BANGALORE COMPLEX. Supply and commissioning of 4" header 'C# Class pipe with 1" C Class pipes confirming to IS 1239 Standard With proper supports and painting using the following items. 1. Supply of 4” C Class pipe, Qty: 140 meters. 2. Supply of 1” C Class pipe, Qty: 60 meters. 3. Supply of 4” Heavy duty flange, Qty: 50 nos. 4. Supply of 1” Heavy duty flange, Qty: 110 nos. 5. Supply of 4” Long bend: Qty: 12 nos. 6. Supply of 1” Bend, Qty: 60 nos. 7. Supply of 4” Dummy flange, Qty: 2 nos. 8. Supply of 1” Union, Qty: 20 nos. 9. Supply of 4’ AUDCO Ball valve: 2 nos. 10. Supply of 1” UDCO Ball valve: 20 nos. 11. Supply of 1” Moisture separator, Qty:2 nos. 12. Supply of 1” Filter, Qty: 20 nos. 13. Supply of ½” QRC, Qty: 40 nos. 14. Supply of 1” to ½# Tee, Qty: 20nos. 15. Mounting bracket Fabrication, Qty: 22 nos. 16. Painting charges, Qty:1 Set. 17. Labour charges, Qty:1 Set 1. The firm to depute their engineer for inspection of location before submitting the offer. 2. The firm to prepare a general arrangement drawing for reference and submit the same along with the offer. The actual location of pipe lines, valves and connections to be finalized in concurrence with the maintenance department. 3. The firm to deploy sufficient skilled/unskilled workmen for executing the job and it is time bound. 4. All workmen engaged must be provided with personnel protective equipment’s and have valid ESI/PF facility. The firm should exonerate BEML from any compensation in case of untoward incidents. 5. The airlines is to be painted with two shades of red oxide and two shades of Sky-blue paint as per standard. 6. The firm to check for any leakages in the compressed airline and handover it to the entire satisfaction of maintenance department. 7. The firm to give 18 months warranty for the work executed from the date of commissioning. |  |  |  |

| Delivery Schedule: | 1 – 2 weeks from the date of receipt of P.O at BEML, Bangalore Complex. |
| --- | --- |

Note:

- The tendering process is Manual-Mode and Single BID SYSTEM basis.

Please send your valuable offer in a sealed cover and super scribe on the cover the  reference No BR01/RM5/1900031382 “LAYING OF COMPRESSED AIR LINES FOR AERO SPACE PROJECT AT BEML BANGALORE COMPLEX” so as to reach us before the tender closing date of 11.03.2020/1400 HRS.

Please send the offer to the address mentioned below :

Senior Manager-Purchase

BEML Limited,

Bangalore Complex

New Thippasandra Post

Bangalore-560075

Karnataka, India

- Please open the collaboration folder to view Tender Documents

- Kindly go through all the tender documents and bid accordingly.

- Please Provide Entire PRICE BREAK UP DETAILS in the BIDDER'S REMARK Section only.

- To be delivered to BEML Bangalore Complex on FOR basis.

- Quotation should be valid for 120 days from date of tender opening.

- FAX/E-mail/Manual quotations are not acceptable and quotations received through these modes will be rejected. Incomplete and conditional offers are also liable for rejection.

- If any of the vendors have defaulted in supplies/services to BEML limited after placement of purchase order or If any of the vendors have backed out from their quotation submitted for the enquires of BEML limited or If any of the vendors have given wrong Information/documents to BEML Limited along with quotations, their quotation will not be considered and their quotation will be rejected. The quotations of the Firms who have not provided Service during the Warranty period of any product supplied by them to BEML Ltd will not be considered & will be rejected.

- Corrigendum if any will be updated in BEML website only.

- For any technical difficulty in submitting the Bid, please contact Mr. Krishna Mohan in the following numbers: 080-22963269 / 22963141.

- Any clarification in the tender, please contact Mr. Uday Kumar in 080-25348770 / 25022635, E-Mail ID: rmm-1@beml.co.in / rmt@beml.co.in

----------------------------------------------------------------------------------------------------------------------------------------