BEMSL LTD

(A Government of India Undertaking)

Bangalore Complex, New Tippasandra Post, BANGALORE – 560 075.

Tel.25022638, 25348770, Fax: 25245545

Annexure I (Technical Bid)

Tender no 6300027575

I. DESCRIPTION: Supply, Erection, Installation, Testing & Proving of  CLOSED CIRCUIT TELEVISION Camera System (Phase-II) at BEML LTD, Bangalore complex  to the existing system at our Main Gate CCTV control room including Civil Works on Turn-Key basis AND   also  ensuring the full functioning of existing  CCTV  System.

.

Qty: 01 Number

| TECHNICAL INPUTS FOR DESIGN OF THE SYSTEM |  |  | COMPLIED / NOT COMPLIED / REMARKS |
| --- | --- | --- | --- |
| 1 | Includes supply, integration and installation of 38-Nos of New Cameras, Installation of 5-Nos of New Cameras already available with BEML, removing 6-Nos of Existing Cameras from their present locations and Re-fixing the same to new locations as per Camera Location table I, II & III and also ensuring full functioning of the existing CCTV System |  |  |
|  | Supply and installation of network accessories including Civil Works, Commissioning of all the cameras by integrating with the existing CCTV Server available at Factory Main Gate security office, Testing, Proving and Handing over of the entire CCTV System including the above cameras on Turn-Key basis. |  |  |
|  | All cameras and accessories supplied & installed should be fully compatible with the existing CCTV System & software (“Hikvision Blazer Pro” Model No-128/16H). |  |  |
|  | Firms to attend the pre-bid meeting at BEML Ltd., Bangalore Complex to study the existing CCTV System and the location of Cameras, etc., and requirement in detail before participating in the tender. |  |  |
|  | Firms should use Pipes and Conduits to lay the cables. |  |  |
|  | The firms should provide cable duct to lay cable in order to facilitate future repairs / maintenance works etc., while laying the cable duct work the firm should take care not to disturb the existing water, sanitary line, storm water drain, electrical and telephone cables etc. (the firms may contact our Civil Construction and Electrical Maintenance Department In-charge during their visit before quoting). |  |  |
|  | The firms should arrange to remove debris / muck as and when the work is progressing. |  |  |
|  | As per ISO 14001 and 18001, the equipment and its connected accessories should be eco-friendly and the equipments are well tested before installation. |  |  |
|  | The firms should ensure necessary safety precautions for their workmen while carrying out the work at heights or near power lines. |  |  |
|  | Firms has to supply and lay power cables for cameras in required places. |  |  |
|  | CIVIL WORKS : Firms should also quote for the civil works pertaining to the laying of cables, trench cutting on soil and back filling & welding brackets for Camera fixation, if any. |  |  |
|  | The firm / vendor has to ensure the functioning of the entire CCTV System ( including existing 85 + 5 Nos of cameras and 38 Nos of newly installed cameras ) for 12 months. After 12-months the firm / vendor has to be ready for AMC of the entire CCTV System at BEML Ltd., Bangalore Complex at the discretion of BEML. |  |  |
|  | Only the materials / spares cost towards repairing / functioning of existing 85 + 5 Nos of cameras will be borne by BEML for the period of 12 months. |  |  |
|  |  |  | 2.Parameters:FIRM HAS TO PROVIDE DETAILS OF ALL THE ITEMS AS MENTIONED BELOW |  |
|  |  |  | Sl. No.; Camera Description. 1; Fixed Outdoor Bullet Camera IP 1920 X 1080 or higher; IR 50 yds or higher; 0.01 Lux or better; Line crossing video Analytic; (ONVIF) Compliant or Equivalent (H.264 Compression), 2.8 – 12 mm vari focal. Outdoor water proof. 2; Fixed Indoor Dome Camera IP 1920 X 1080 or higher; 0.01 Lux or better.; IR 20 yards or higher; (ONVIF) Compliant or Equivalent (H.264 Compression). Indoor dome. Firm is requested to mention the specifications |  |
|  |  |  | DETAILS OF ACCESSORIES Sl No; Description of Accessories. 1; OFC Cable – Armored 6-Core Single Mode. 2; GI Pipe 1.5-inch internal diameter with accessories. 3; CAT 6 Armored Cable with laying and conduits. 4; POE Switch with racks 8 ports GIGA BYTE POE Switch 10/100/1000 Mbps. 5; 1KV UPS with Weather proof Rack and fittings. 6; Camera Pole-Galvanised MS 20-feet length (with brackets/angles etc.). 7; Power Supply Cables along with Conduits 3 Core 1.5 Sqmm Cable. 8; Installation & Commissioning. 9; Media convertor along with standard accessories. 10; Laying Charges for OFC cable. 11; CAT 6 Unarmored Cable with laying and conduits. 12; Water Proof outdoor racks for POE. 13; HDPE Pipe. 14; Digging. 15; Soil Digging and Concrete digging per meter 1 feet depth. |  |

Notes:

|  | Terms and conditions | VENDOR REMARKS |
| --- | --- | --- |
|  | Firm has to visit BEML to study the requirement in detail and should quote for all the necessary items required for the job. |  |
|  | Delivery: This firm should supply, install, commission, prove and handover the system within 4 weeks from the date of P.O. |  |
| 3 | Guarantee: The 38-Cameras along with all accessories / spares supplied by the firm / vendor shall be guaranteed for a period of 12 calendar months from the date of commissioning. During this period any part / accessory found defective shall be repaired / replaced by the firm at free of cost. For the existing CCTV System, the firm / vendor also has to ensure its full functioning during the period of 12 calendar months. For the existing CCTV System BEML will bear the materials / spares cost towards repairing / functioning of existing 85 + 5 nos of cameras. |  |
| 4 | Commissioning: The firm should depute their service personnel crew for the installation & commissioning. It should be the entire responsibility of the firm to supply, Erect, install and commission, prove and handing over the entire system to the satisfaction of User Dept. BEML will only provide electricity, water, Material Handling Facility required for the installation. Rest of the things to be arranged by the firm. - The erection & commissioning should meet the provision of factories act. All the workmen being employed for erection & commissioning should be covered under ESI & necessary safety precautions should be taken compulsorily by the firm. |  |
| 5 | The offers should be complete with: - Detailed technical specifications along with complete construction details - Sketch/catalogue/schematic diagram. - Complete scope of work - List of Accessories |  |
| 6 | The quotation should be complete along with List of Accessories. |  |
| 7 | Publication: The firm should furnish following publications in triplicate along with the offer. - Operation instruction manual - Detailed spare parts catalogue. - Electric Wiring Diagram - Schematic Diagram of Cabling. |  |
| 8 | Training : The firm should arrange the training for the operation and maintenance to BEML personnel at our works up to entire satisfaction of BEML at free of cost. |  |
| 9 | Firm should furnish comparison statement of the offer vis-a-vis our tender enquiry. BEML will sought Technical Clarification if required during Technical scrutiny for informative clauses only. |  |
| 10 | Service backup: - In case of breakdown during/after warranty the firm should attend with necessary spares within 24 hours of working days and set right the equipment. - The firm should furnish the service backup network available with them for attending the breakdowns within 24 hours of working days effectively. - The firm should have service center at Bangalore. Address to be provided in Technical Bid. |  |
| 11 | The firm should execute the work on TURN-KEY basis. Any civil / cable laying work / mechanical work required during installation of the system has to be carried out by the supplier as TURN-KEY Project. |  |
| 12 | The offer should execute the work on TURN-KEY basis. Any civil / cable laying work / mechanical work required during installation of the system has to be carried out by the supplier as TURN-KEY Project. |  |