## boq
BEML LIMITED, BANGALORE COMPLEX
Ref:RMM/TEN- /2019 |  |  |  | Date: .11.2019
ISSUED TO: |  | Period of contract: |  |  | 30 Days
EMD :
Sub: Proposed Interior decoration & associated civil works for the new Innovation Centre for Industrial Design in BEML Limited, Bangalore Complex, Bangalore-75
SCHEDULE 'A' - BILL OF QUANTITIES
Sl no | Description of work | Unit | Qty | Rate/unit in fig. & in words Rs. | Amount (Rs)
1 | ENTRANCE/FRONT ELEVATION
1.01 | FRONT SIDE WINDOW :- Providing and fixing fixed glass for the window made out of 12 mm toughened glass manufactured by M/s. Saint gobain with M/s. 3M make perforated sheet one way see through black tint film (for inside surface of glass) with alround teakwood beading of size 1" x 1" including melamine polishing for the TW beading to achieve a glossy finish. The glass to be flushed to the wall from inside and the window gaps to be filled with silicon sealant etc., complete all as specified & directed by the Engineer in charge. Note:The window cill, jambs would be polished granite which will be measured and paid separately under the relevant item. | Sqm | 5.5
1.02 | FIXED GLASS -ENTRANCE : Supplying & Installation of fully Glazed fixed 12mm thick toughened glass for main entry, toughened glass manufactured by M/s. Saint gobain with M/s. 3M perforated sheet one way see through black tint film (for inside surface of glass). The glass has to be secured firmly to the floor & ceiling at the top, bottom & sides with powder coated aluminum glass holder/folder brackets (fish plates) of size 25x25mm or required size. The fixed glass has to have alround PVC glazing gaskets & gaps filled with silicon sealant.etc., complete all as specified & directed by the Engineer in charge | Sqm | 2.25
1.03 | FULLY GLAZED OPENABLE DOOR FOR ENTRANCE : Supplying & Installation of fully Glazed entrance door with 12mm thick toughened glass manufactured by M/s. Saint gobain with M/s. 3M perforated sheet one way see through black tint film (for inside surface of glass) . The glass has to have alround PVC glazing gaskets & gaps filled with silicon sealant with necessary hardware/ accesories like M/s. Dorma botttom lock, M/s. Ozone make SS H handle(400mm), floor spring, heavy duty door stopper, top & bottom patch fittings, pivot etc. The door should lock at 90 degree in open position etc., complete all as specified & directed by the Engineer in charge | Sqm | 2.4
1.04 | HOARDING BOARD :- Providing and fixing hoarding board made out of M/s. Crossbond/Euroband/Alubond make 3mm thick ACP panel of black colour/approved colour mounted on Aluminium frame work of 2.5G & size 25mm x 30mm or required size formed into a gridwork at the back & the framework secured firmly to the wall. The panel has to have M/s. MCA make 3mm thick white acrylic projected letters with back lighting of samsung LED 1.50Watts waterproof transformation with a minimum of 3 years warranty, front glow 2.5 inch raising on the board all as per design. The gap between the aluminium frame work and the ACP panel board to be closed on all the 4 sides with the same ACP panel and the gaps between the wall & panel covered with silicon sealant etc., complete all as specified & directed by the Engineer in charge | Sqm | 11
1.05 | DISPLAY PANEL FOR THE SIDE WALL OF FRONT ELEVATION :- Providing and fixing display panel made out of M/s. Crossbond/Euroband/Alubond make 3mm thick ACP panels of black colour /approved colour mounted on Aluminium frame work of 2.5G & size 25mm x 30mm or required size formed into a gridwork at the back and the framework secured firmly to the wall. The panel has to have M/s. MCA make 3mm thick white/approved colour acrylic projected letters with back lighting of samsung LED 1.50 Watts waterproof transformation with a minimum of 3 years warranty, front glow 2.5 inch raising on the board as all per design. Laser cutting for logos on ACP panel to the required size and shape as specified in drawing. The gap between the aluminium frame work and the ACP panel has to be closed on all the 4 sides with the same ACP panel and the gaps between the wall & panel covered with silicon sealant etc., complete all as specified & directed by the Engineer in charge. | Sqm | 20
1.06 | PAINTING CHAJJA :- Providing & applying two coats of weather shield exterior emulsion paint manufactued by M/s. Asian/Berger over a base coat followed by sheen coat manufactured by M/s. Asian/Berger for External walls etc., complete as specified in the drawings & directed by the Engineer in charge. Note: (1) Rate is deemed to include for providing & removing of scaffolding, cleaning of paint stains, materials, labour, equipment and machinery, working at all levels, lead and lift, loading and unloading, transportation, and all other incidental charges etc., complete.(2) The paint shade/colour will be selected by M/s. BEML Limited (3) The quoted rate is deemed to include for complete removal of the existing old wall paint | Sqm | 50
1.07 | Providing and laying 19mm thick polished Granite slab for entrance steps, front wall cladding, window cill, jambs over 20mm thick Cement Mortar screed bed in mixed proportion 1:4 inclusive of nosing, acid washing, pointing of joints with matching granite colour pigment all as per drawings etc., complete all as specified & directed by the Engineer in charge | Sqm | 20
2 | DISCUSSION ROOM
2.01 | PARTITION WITH SOLID SURFACES -DISCUSSION ROOM : Providing & fixing partition made out of 12mm thick Solid surface materials of M/s. Rehau brand of approved colour, bending to required shapes as per given design & pattern fixing with adhesive of M/s. Rehau/M/s. Arista, providing necessary support if required including labour, equipment and machinery, lead and lift, loading and unloading, transportation, and all other incidental charges etc., complete all as specified & directed by the Engineer in Charge | Sqm | 13
2.02 | FIXED GLASS BEHIND SOLID SURFACE PARTITION: Supplying & Installation of fully Glazed fixed 12mm thick toughened glass partition behind the solid surface partition, toughened glass manufactured by M/s. Saint gobain with M/s. 3M perforated sheet one way see through black tint film (for inside surface of glass). The glass has to be secured firmly to the floor & ceiling at the top, bottom & sides with powder coated aluminum glass holder/folder brackets (fish plates) of size 25x25mm or required size. The fixed glass has to have alround PVC glazing gaskets & gaps filled with silicon sealant.etc., complete all as specified & directed by the Engineer in charge | Sqm | 9.5
2.03 | LEDGES WITH SOLID SURFACES-DISCUSSION ROOM:- Providing & fixing ledges on wall in 12mm thick Solid surface materials of M/s. Rehau brand of approved colour, bending to required shapes as per given design & pattern, fixing with adhesive of M/s. Rehau/M/s. Arista including labour, equipment and machinery, lead and lift, loading and unloading, transportation, and all other incidental charges etc., complete all as specified & directed by the Engineer in Charge | Sqm | 8
2.04 | ALROUND WOODEN BEADING FOR MOUNTING TV-DISCUSSION ROOM :- Providing & fixing wooden beading of required width made out of 16mm commercial plywood on wall and finished with 1mm laminate sheet manufactured by M/s.Archidplay/Greenlam/Kitply of approved colour fixed using screws, adhesives etc., lead and lift, loading and unloading, transportation, and all other incidental charges etc., complete all as specified & directed by the Engineer in Charge | Rmt | 6
2.05 | PANELLING ON RCC COLUMN WITH GLASS SHELVES :-Providing and fixing panelling for the RCC column made out of 16mm thick plywood of commerical grade with necessary supporting frame if required with plywood and exposed surfaces / top covered with 1mm thick laminated sheet of approved colour manufactured by M/s. Archidply/ Greenlam, Kitply, the board fixed firmly to the RCC column using screws, necessary hardware and making groves, supplying & fixing 10mm thick toughened glass (M/s. Saintgobain) shelves, cut & fixed to the panelling as per shape shown in design etc., complete all as specified & directed all as specified and directed by Engineer in charge. | Sqm | 15.5
2.06 | FIXED GLASS PARTITION DIVIDING THE WORK SPACE AREA: Supplying & Installation of fully Glazed fixed 12mm thick toughened glass partition, toughened glass manufactured by M/s. Saint gobain with M/s. 3M perforated sheet one way see through black tint film (for inside surface of glass). The glass has to be secured firmly to the floor & ceiling at the top, bottom & side with powder coated aluminum glass holder/folder brackets (fish plates) of size 25x25mm or required size. The fixed glass has to have alround PVC glazing gaskets & gaps filled with silicon sealant.etc., complete all as specified & directed by the Engineer in charge | Sqm | 12.5
2.07 | FULLY GLAZED OPENABLE DOOR TO MODELLING SHOP: Supplying & Installation of fully Glazed entrance door to modelling room made out of 12mm thick toughened glass, toughened glass manufactured by M/s. Saint gobain with M/s. 3M perforated sheet one way see through black tint film (for inside surface of glass) . The glass has to have alround PVC glazing gaskets & gaps filled with silicon sealant.with necessary hardware/ accesories like M/s. Dorma botttom lock, SS H handle(400mm), floor spring, heavy duty door stopper, top & bottom patch fittings, pivot of M/s. Ozone make. The door should lock at 90 deg in open position etc., complete all as specified & directed by the Engineer in charge | Sqm | 2.52
2.08 | FLOORING CARPET:- Providing and laying M/s. Hego make 500mmx500mm carpet in tile form,Tufted Textured Loop,pile weight of 882 g/m2 or 23 to 26 oz/yd2,non woven, having a gauge of 1/12, Nylon fibre.Finish pile thickness is 4mm+/-0.5mm also has antimicrobial properties. Note: (1) The rate shall be inclusive of plastic sheet covering and protecting the carpet as instructed by the Engineer in charge (2) The colour & design will be approved by BEML | Sqm | 83
2.09 | WALL MOUNTED BOARD AS TESSALLATIONS:- Supplying and fixing 18mm finished thickness pre-lam acrylic finished panels manufactured by M/s. Rehau with hanging arrangement at the back mounted directly on wall on screws or hooks, allround PVC edge beading of M/s. Rehau Brand 22mm wide x 2mm thick or required size, fixing/mounting the panel boards on wall all as per design etc., complete all as specified & directed by Engineer in charge. | Sqm | 22
2.1 | PUNNING WALLS :- Providing & applying Gypsum Plaster using M/s. Saint Gobain Expert punning material minimum thickness 10mm etc., complete all as specified & directed by the Engineer in charge. Note: The rate is deemed to include for providing & removal of scaffolding, cleaning of paint stains, materials, labour, equipment and machinery, loading and unloading, transportation, and all other incidental charges etc., complete | Sqm | 180
2.11 | WOODEN CABINET/LOFT ABOVE TOILET - Supplying and installation of storage cabinet made out of 16mm plywood commercial plywood, internal surfaces finished with 0.8mm internal laminate & external furface finished with 1mm laminate manufactured by M/s. Archidply/Kitply/Greenlam fixed using screws, adhesives with hardware / accessories like handles, hinges etc., complete all as specified & directed by the Engineer in Charge | Sqm | 4.5
2.12 | CEMENTED BOARD FALSE CEILING FOR TOILET - Supplying and laying cemented board false ceiling with waterproof, fire resistant cemented boards of M/s. RAMCO or equivalent manufacturer conforming to relevant IS supported by M/S Gyproc brand Powder coated MS grid sections etc.complete all as specified & directed by Engineer in charge. | Sqm | 8
2.13 | UPVC WINDOW :- Providing & fixing UPVC sliding Windows, ventilator of LG Brand 2.5mm thick using standard UPVC sections 3 track with mosquito mesh shutter including locking arrangement, gaskets all as per Manufacturers instructions etc., complete all as specified & directed by Engineer in charge | Sqm | 3.12
2.14 | Supplying and installation of M/s. Arraystorm Arium 1 series UP DOWN LED Luminaire of 45 Watts Catalog no. ASAR8001SFXXIN045 Diameter(600) x Height (205) mm CRI>80, Operating Voltage 220-240 V, operating frequency 50-60Hz, Beam Angle 120Degree suspended directly from the RCC ceiling using suspension wires etc., complete all as specified & directed by Engineer in charge | Nos | 4
2.15 | Supplying and installation of M/s. Arraystorm Orbiz series LED RING Luminaire of 40 Watts, 900mm Diameter Catalog no. ASCRD6005SFXXIN040 CRI>80, Operating Voltage 220-240 V, operating frequency 50-60Hz, Beam Angle 120Degree suspended directly from the RCC ceiling using suspension wires etc., complete all as specified & directed by Engineer in charge | Nos | 6
2.16 | Supplying and installation of M/s. Arraystorm LED Track Light Luminaire Omnisense series of 12 Watts Catalog no. ASTR1102TMXXIN012 CRI>80, Operating Voltage 220-240 V, operating frequency 50-60Hz, Beam Angle 40 Degree Track mounted from the RCC ceiling etc., complete all as specified & directed by Engineer in charge Note : The rate is deemed to include for the cost of track length of approx.20Rmt, laying & fixing the track to the ceiling | Nos | 16
I | TOTAL COST OF INTERIOR WORKS EXCLUDING GST |  |  | Rs.
| GST AMOUNT |  |  | Rs.
| TOTAL COST OF INTERIOR WORKS INCLUDING GST |  |  | Rs.
3 | CIVIL WORKS
3.01 | Removing the existing MS windows carefully from the masonary / wall surfaces without damaging the MS members, handing over to BEML and stacking at a place shown, making good the wall surfaces etc., complete all as specified & directed by the Engineer in charge | Sqm | 14
3.02 | Removing the existing wooden door frame & shutter carefully from the masonary / wall surfaces without damaging the wooden members, handing over to BEML and stacking at a place shown, making good the wall surfaces etc., complete all as specified & directed by the Engineer in charge | Sqm | 1.89
3.03 | Dismantling the existing Brick masonary wall in any thickness and disposal of unserviceable materials from the site premises etc., complete all as specified and directed by Engineer in charge. Note: The dismantled materials should be removed immediately from the premises and the quoted rate includes all lead & lift, tools & tackles etc. | Cum | 3.5
3.04 | Dismantling the existing old floor & wall tiles including cement mortar bedding layer and disposal of unserviceable materials from the premises etc., complete all as specified and directed by Engineer in charge. Note: The dismanted materials should be removed immediately from the premises and the quoted rate is deemed to include for all lead & lift etc. | Sqm | 34
3.05 | Demolition/dismantling the existing cement concrete flooring/ Hardstanding concrete including flooring tiles in any description and in any position not otherwise specifically provided, removing from the site premises & clearing site etc., complete all as specified and as directed by engineer in charge. Note: The dismantled materials should be removed immediately from the premises and the quoted rate includes all lead & lift etc. | Cum | 0.5
3.06 | Earthwork excavation by mechanical/ manual means not exceeding 1.50m in width and not exceeding 1.50m in depth and not exceeding area 10 sqm on plan in all kinds of soil but excluding hard rock for foundation/ pits including getting out the excavated earth, with a lead upto 50 mts, disposal of surplus excavated soil as directed including dressing of sides, dewatering ground water/ rain water, compaction etc., complete all as specified and directed by Engineer in charge. | Cum | 1
3.07 | Providing and laying in Position Plain Cement Concrete for sub base in floors, plinth beam, lintel and other similar works of mix proportion 1:2:4 using 20mm down graded granite aggregate, laid in layers and well compacted including curing etc.,complete all as specified and directed by Engineer in charge.Note: The rate quoted for the item shall be deemed to include for providing and removal of centering/shuttering wherever necessary as per site conditions & reinforcement provided will be measured and paid separately under relevant item | Cum | 1
3.08 | Providing & constructing 230mm thick Burnt brick masonary in Cement Mortar 1:6 with first class table moulded bricks including necesssary curing, tools & tackles etc., complete all as specified and directed by Engineer in charge. | Cum | 4.5
3.09 | Providing, erecting and removal of leak proof formwork for concrete beams & similar concrete works (Centring and shuttering including strutting, propping etc) using wooden formwork supports, applying of chemical / releasing agent to wood/steel surfaces to avoid sticking of cement so as to have a smooth finish at all levels etc complete all as specified and directed by Engineer in charge. | Sqm | 5
3.1 | Providing TMT bars (Fe 500 grade) in reinforcement conforming to relevant IS in various diameter for various location & at all levels, cut to length & bent to required shape, binding spirally with MS wire (annealed) of size not less than 0.9mm dia and placing in position including all lead, lift, labour, tools & tackles, plant & machinery etc complete all as specified and directed by Engineer in Charge. Note: a) Reinforcement shall be measured based on actual quantity placed in position on standard weight basis and no allowance shall be made for rolling margin. b) Only authorised laps, chairs & spacers shall be measured & paid. | Kgs | 62
3.11 | Providing plastering 20mm thick in Cement Mortor 1:6 for brick wall/ concrete surfaces, finishing the surface smooth and even using a thin coat of cement paste, racking joints including hacking the concrete surfaces wherever required and curing etc complete all as specified and directed by Engineer in charge. Note:- The rate quoted for the item shall deemed to include for providing and removal of scaffolding/staging whever necessary. | Sqm | 70
3.12 | Supplying and fixing coloured glazed ceramic tiles for the vertical surfaces/dado manufactured by M/s. Johnson/Kajaria/Bell/RAK/Somany of min. size 300mm x 200mm x 7mm thickness or approved size laid over a backing coat of CM 1:4 15mm thick with cement slurry and joints finished and pointed with jointing powder of matching colour pigment etc., complete all specified & directed by the Engineer in charge | Sqm | 8
3.13 | Supplying and fixing matching coloured non-skid ceramic floor tiles manufactured by M/s. Johnson/Kajaria/Bell/RAK/Somany of min. size 300mm x 300mm x 7 to 8mm thickness or approved size laid over a backing coat of CM 1:4 15mm thick and joints finished and pointed with jointing powder of matching colour pigment etc., complete all specified & directed by the Engineer in charge | Sqm | 5
3.14 | Preparing the internal wall & ceiling surfaces including providing necessary repairs to cracks, cleaning the surface free from dust and applying two coats of premium plastic emulsion paint over a coat of primer manufactured by M/s. Asian/Berger & touch up putty as required, approved colour etc., complete all as specified & directed by the Engineer in charge | Sqm | 275
3.15 | Supplying & fixing Wall mounted European Water Closet full set with seat cover - M/s. Parryware make Cardiff Hi-Jet model-C0231 (520x350x375mm) with P or S trap mounted on the wall with brackets, rack bolts etc., complete all specified and directed by the Engineer in charge Note: The rate is deemed to include for making bore hole through the wall for connecting EWC to the chamber and making good the wall surfaces | Nos | 1
3.16 | Supplying & fixing Wash basin full set-M/s. Parryware make model-CASCADE NXT C0404 Basin (570x440x200mm) + C0379 short pedestal (White) mounted on the wall with brackets, rack bolts etc., complete all specified and directed by the Engineer in charge | Nos | 2
3.17 | Supplying & fixing Bottle Trap-M/s. Jaquar make model- 769 L300 or equivalent model in Jaquar with all necessary hardware etc., complete all as specified & directed by the Engineer in charge | Nos | 2
3.18 | Supplying & fixing Pillar Cock- M/s. Jaquar make- model- FLR 50011 or equivalent model in Jaquar etc., complete all as specified & directed by the Engineer in charge | Nos | 2
3.19 | Supplying & fixing 1 1/4" waste coupling -Make-Viking etc., complete all as specified & directed by the Engineer in charge | Nos | 2
3.2 | Supplying & fixing 2 in 1 bib cock M/s. Jaquar make- model- FLR or equivalent model in Jaquar etc., complete all as specified & directed by the Engineer in charge | Nos | 1
3.21 | Supplying & fixing Grating Plain- Make- M/s. Viking etc., complete all as specified & directed by the Engineer in charge | Nos | 1
3.22 | Supplying & fixing Angle Cock- Make- M/s. Jaquar- FLR or equivalent model in Jaquar etc., complete all as specified & directed by the Engineer in charge | Nos | 2
3.23 | Supplying and fixing M/s. Jaquar make health faucet with connection pipe full set etc., complete all as specified and directed by the Engineer in charge | Nos | 1
3.24 | Supplying and fixing wall mirrror 600mm x 450mm or approved size bevelled edge mirror of M/s. Saintgobain conforming to IS with commercial plywood backing, allround wooden beading fixed to the wall etc., complete all as specified and directed by the Engineer-in-charge | Nos | 1
3.25 | Supplying and fixing towel rail 600mm long of M/s. Jaquar make etc., complete all as specified and directed by the Engineer in charge | Nos | 1
3.26 | Supplying and fixing toilet paper holder of M/s. Jaquar make etc., complete all as specified and directed by the Engineer in charge | Nos | 1
3.27 | Supplying and fixing PVC heavy duty door shutters with frame of PVC formulated compound of M/s.Sintex make with wall thickness not less than 2mm thick and shutter thickness 24 mm (multi chamber hollow section) of approved shade & size conforming to relevant IS as per manufacturer's specification etc including necessary hardware viz., S.S hinges, tower bolts, handles, hardware items etc.,complete all as specified and directed by Engineer in charge. | Sqm | 1.6
3.28 | Carting away unwanted and unusable excavated soil, debris outside the site premises to a distance not exceeding 5.00KM, dumping at a place shown in township including all lead and lift etc., complete all as specified and directed by Engineer in charge. | Cum | 6
3.29 | Supplying and Laying Heavy grade CPVC water tubing, laid in required length, gradient in walls, flooring & trenches etc of Supreme/Astral/Ashirwad approved brand etc. complete as specified and directed by Engineer in charge
| a) 20mm Dia | Rmt | 6
| b) 16mm Dia | Rmt | 1
| c) Elbow 16mm | Nos | 5
| d) Elbow 20mm | Nos | 5
| e) Tee-16mm | Nos | 2
| f) Tee-20mm | Nos | 2
| g) MTA 16mm | Nos | 2
| h) MTA-20mm | Nos | 2
| i) FTA 16mm | Nos | 2
| j) FTA-20mm | Nos | 2
3.3 | Providing & fixing following dia. PVC class 2 pipes (6kg/cm2) for waste water of first quality, approved brand, conforming to relevant IS manufactured by M/s.Supreme/ Finolex/Prince all standard fittings like elbows, bends, tees tail pieces & fixtures such as pipe clips, clamps wooden plug, screws, washers etc secured firmly etc.,complete all as specified and as directed by Engineer in charge.
| a) 110mm dia | Rmt | 3
| b) 75mm dia | Rmt | 3
3.31 | PAVERS :- Providing and laying 50mm Grass pavers manufactured by M/s. Besant Betons on the required base at the location shown etc., complete all as specified & directed by the Engineer in charge. Note: The Rate is deemed to include for materials, labour, equipment and machinery, leads and lifts, loading and unloading, transportation, and all other incidental charges etc., | Sqm | 30
II | TOTAL COST OF CIVIL WORKS EXCLUDING GST |  |  | Rs.
| GST AMOUNT |  |  | Rs.
| TOTAL COST OF CIVIL WORKS INCLUDING GST |  |  | Rs.
4 | FURNITURE & CONSUMER APPLIANCES
4.1 | Supplying & positioning of M/s. Wipro make Define Fabric premium upholstery chairs including transportation etc., complete all as specified & directed | Nos | 10
4.2 | Supplying & installation of modelling / protyping table of size 4' (L) x 2'6"(W) x 3'0"(H) made out of standard powder coated steel frame and legs and table top finished with granite slab etc., complete all as specified and directed by the Engineer in charge | Nos | 2
4.3 | Supplying & positioning of M/s. Wipro make (model- I M) discussion table (round table of dimension-1500mm) etc., complete all as specified and directed by the Engineer in charge | Nos | 1
4.4 | Supplying & positioning of M/s. Wipro make (model- Kingsley Platinum) MDF work tables with Main table of size 1950mm x 900mm, return table of size- 1350mm x 450mm, 3D pedestal of dimensions 350mm x 450mm x 550mm inclusive of transportation & installation etc., complete all as specified and directed by the Engineer in charge | Nos | 3
4.5 | Supplying and installation of 2TON Energy Efficiency 5 star rated split Air Conditioners of reputed manufacturer LG/VOLTAS/BLUE STAR/HITACHI etc., complete all as specified & directed by the Engineer in charge Note: The quoted rate is deemed to include for installation at site with the required length of cable, piping | Nos | 3
4.6 | Supplying and installation of 55" SMART LED TV UHD manufactured by M/s. LG/MI etc., complete all as specified & directed by the Engineer in charge Note: The quoted rate is deemed to include for installation at the location shown | Nos | 1
4.7 | Supplying & positioning of M/s. WIPRO make model- ENDURA storage cabinets steel body with glass doors 900mm (W) X 1980mm (H) X 425mm (D) etc., complete all as specified & directed | Nos | 6
III | TOTAL COST OF FURNITURE & CONSUMER APPLIANCES EXCLUDING GST |  |  | Rs.
| GST AMOUNT |  |  | Rs.
| TOTAL COST OF FURNITURE & CONSUMER APPLIANCES INCLUDING GST |  |  | Rs.
NOTE:
(1) The contractor/bidders are requested to visit the site and acquaint themselves with the site conditions before submission of quote
(2) The quoted rates are deemed to include for providing & scaffolding/staging as required at site for the relevant items of BOQ
(3) Time is the essence of the work & the contractors may note that the delivery schedule mentioned for completion of work has to be strictly adhered to without any lapse
(4) The contractors may note that the sample of materials to be used in the work as per the brands/makes mentioned in the BOQ has to be got approved by the Engineer-in-charge before execution of work
| TOTAL COST OF THE PROJECT INCLUDING GST=I + II +III |  |  | Rs.
Total Amount in words Rupees_____________________________________
| Authorised Signatory |  | Signature of Contractor
| (Purchase Dept) |  | with seal